Roots Vet Dental Supplies Ltd

Tel: 01455 698449 Low Call Tel: 0844 8700109 Fax: 0844 8700108

Email: [info@rootsvetdental.co.uk](mailto:info@rootsvetdental.co.uk) [www.rootsvetdental.co.uk](http://www.rootsvetdental.co.uk)

## Woodpecker UDS-P LED

The UDS-P LED is a three-function ultrasonic piezo scaler, compatible with EMS handpieces and tips. It has a detachable handpiece which is autoclavable to a temperature of 135°C and a pressure of 0.22 Mpa to minimise cross contamination. It also features digital automatic frequency tracking which ensures the machine is always working on the most appropriate frequency. The handpiece is constructed from titanium alloy to ensure sound mechanical function and durability.

* 6 tips: G1 x 2, G2, G4, P1 and E1
* Torque Wrench/Tip Tool
* Size: W18cm x D14.5cm x H9cm
* Weight: 650gFrequency: 28kHz ± 3 kHz
* Output Power: 3W~20W
* Detachable Handpiece
* Digitally controlled, automatic frequency tracking
* Autoclavable handpiece with excellent piezo-ceramic vibrations

**Exclusive Promotional Price of £275.00 + VAT**

**For A Limited Time Only!** 

Please Don’t Hesitate To Ask For

Further Information.